IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Monitoring and Reporting Requirements Not Met for Little League of Hopewell Twp.

Our water system violated drinking water requirements over the past year. Even though it is not an emergency, as our customers, you have a right to know what happened and what we are doing or did to correct the situation(s).

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether our drinking water meets health standards. During the month of November in 2023, 2024, 2025 and during the month of October in 2025, we did not monitor or test for e. Coli. Additionally, during the 4th Quarter of 2024, we did not monitor or test for Arsenic. Therefore, we cannot be sure of the quality of your drinking water during that time.

The table below lists the contaminants we did not properly monitor and report during the last year, how often and when we are supposed to sample, how many samples we are required to collect, how many samples we took, and if applicable, the date on which follow-up samples were (or will be) taken.

| Analyte | Required sampling frequency or sampling period | Number of samples required | Number of samples collected | When samples were or will be taken |
| --- | --- | --- | --- | --- |
| E. COLI | Monthly (once every month during season) | 1 | 0 | 03/18/2024, 03/19/2025 & 09/08/2025 |
| ARSENIC | Quarterly (once every 3 months during season) | 1 | 0 | 05/05/2025 & 08/25/2025 |

What should I do?

There is nothing you need to do.

However, if you have specific health concerns, a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at higher risk than other individuals and should seek advice from your health care providers about drinking this water.

What is being done?

We have completed the monthly and quarterly requirement to test for bacteria and arsenic in our drinking water, and the subsequent test results are non-detect for all the referenced contaminants. We have retained McGowan Well Water Compliance and Pace Labs/NJA (Certified Laboratory) to manage and assist us with testing our water system, which will help mitigate issues with state rules and regulations.

For more information, please contact Chris Beyer at (609)737-0799 or 203 Washington Crossing-Penn. Rd., Titusville, NJ 08560

Information on our water system, including drinking water results, may be found on the New Jersey Department of Environmental Protection’s Drinking Water Viewer website available at https://waterviewer.nj.gov/.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by Little League of Hopewell Twp.

Water System ID: NJ1106374

Date distributed: