IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Monitoring and Reporting Requirements Not Met for Washington Crossing Park Estates

Our water system violated drinking water requirements over the past year. Even though it is not an emergency, as our customers, you have a right to know what happened and what we are doing or did to correct the situation(s).

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether our drinking water meets health standards. During October of 2025, we did not monitor or test for raw/source water E. coli for every ground water source. Therefore, we cannot be sure of the quality of your drinking water during that time.

The table below lists the contaminants we did not properly monitor and report during the last year, how often and when we are supposed to sample, how many samples we are required to collect, how many samples we took, and if applicable, the date on which follow-up samples were (or will be) taken.

| Analyte | Required sampling frequency or sampling period | Number of samples required | Number of samples collected | When samples were or will be taken |
| --- | --- | --- | --- | --- |
| E. COLI | 1 RAW sample per repeat sampling for each ground water source | 2 | 0 | 10/15/2025 & 11/06/2025 |

What should I do?

There is nothing you need to do.

However, if you have specific health concerns, a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at higher risk than other individuals and should seek advice from your health care providers about drinking this water.

What is being done?

We were required to collect a raw/source water bacteria sample from each ground water source (2 wells) with 3 repeat confirmatory bacteria samples on 10/15/2025. While we did collect one sample from WL002005, we did not collect a sample from WL002006. All subsequent test results are non-detect for the referenced contaminants. We have retained McGowan Well Water Compliance and New Jersey Analytical (Certified Laboratory) to manage and assist us with testing our water system, which will help mitigate issues with state rules and regulations.

For more information, please contact Chris Beyer at (609)414-2071 or Washington Crossing Estates, Titusville, NJ 08560

Information on our water system, including drinking water results, may be found on the New Jersey Department of Environmental Protection’s Drinking Water Viewer website available at https://waterviewer.nj.gov/.

This notice is being sent to you by Washington Crossing Park Estates

Water System ID: NJ1106001

Date distributed: 02/05/2026